## A-Steam Power Stations
Report Date - 13 FEBRUARY 2004
A - Steam Power Stations
Power Stations | Type Fuel | No. of Units | No. of Operating Units | Units Load (MW) | [5 empty] | Total Load MW | Target Load MW | Remarks
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6
Dibis | Natural Gas | 4 | 2 | Units Load (MW) 1: 8; Units Load (MW) 4: 8 | 16 | 24
Baiji | Fuel Oil | 6 | 4 | 85 |  | 85 | 85 |  | 85 | 340 | 500
Daura | Fuel Oil | 4 | 1 | Units Load (MW) 6: 30 | 30 | 180
South Baghdad | Fuel Oil | 6 | 1 | Units Load (MW) 3: 70 | 70 | 200
Mussaibe | Crude and Fuel Oil | 4 | 3 | Units Load (MW) 1: 200; Units Load (MW) 2: 200; Units Load (MW) 3: 200 | 600 | 860
Nassirya | Crude | 4 | 4 | 155 | 150 | 150 | 150 |  |  | 605 | 600
Najebia | Natural Gas and Crude | 2 | 1 | Units Load (MW) 1: 100 | 100 | 160
Hartha | Natural Gas and Crude | 4 | 2 | Units Load (MW) 4: 80; Units Load (MW) 5: 90 | 170 | 300
| Out of Service for Unscheduled Maintanence |  |  | Units Load (MW) 6: Total: | 1931 | 2824
Out of Service for Program Maintanence/Rehab
No activity
Not Performing at Peak Performance

## B- Gas_C-Power Stations
Report Date - 13 FEBRUARY 2004
B- Gas Power Stations | [6 empty] | C -Hydro Power Stations
Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Fuel Use | Remarks | Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Discharge m3/Sec
Gas Pressure
Baiji | 2 | 1 | 130 | 125 | Gas Oil |  | Musil Dam Main | 4 |  |  | 600
Quds | 2 | 2 | 220 | 160 | Gas Oil |  | Musil Dam reg | 4 |  |  | 60
Mosil | 12 | 10 | 155 | 150 |  |  | Musil Pumping | 2 |  |  | 0
Dibis | 3 | 2 | 57 | 30 |  |  | Haditha Dam | 6 |  |  | 160
Old Mulla | 12 | 6 | 80 | 128 |  |  | Samarra | 3 |  |  | 55
New Mulla | 6 | 4 | 135 | 173 |  |  | Himrin | 2 |  |  | 21
Taji | 7 | 4 | 70 | 55 |  |  | Hindia | 4 |  |  | 5
M. Taji | 2 |  |  | 18 |  |  | Kufa | 4 |  |  | 0
Daura | 4 | 3 | 70 | 30 |  |  |  |  | Total | 0 | 896
Hilla | 4 | 3 | 34 | 64 |  |  | System Generation |  |  | MWh
Najaf | 3 | 2 | 95 | 129 |  |  | Syrian Line Generation |  |  | MWh
Khor | 4 | 2 | 80 | 80 | Natural Gas |  | Turkey Line Generation |  |  | MWh
Shuaiba | 2 | 6 | 6 | 20 | Natural Gas |  | Total Generation |  |  | MWh
M. Shuaiba | 2 |  |  |  | Natural Gas |  | System Peak Load |  |  | MW
Petro | 4 | 1 | 10 | 0 | Natural Gas |  | Syria Peak Load |  |  | MW
M. Dibis | 4 | 3 | 10 | 24 | Natural Gas |  | Turkey Peak Load |  |  | MW
Mossil East | 5 | 3 | 16 | 0 | Gas Oil |  | Fixed Gen Peak Load |  |  | MW
Hmam/Zafranya | 7 | 3 | 51 |  | Gas Oil |  | Total Peak Load |  |  | MW
Diesel |  |  |  |  | Gas Oil |  | Baghdad Load |  |  | MW
|  | Total | 1219 | 1186
Notes: Prepared from data submitted by D.G. Mohsin T. Hassan (1 (914) 360 6590).
Edited by Electricity Commission U.S. Advisor Staff.

## Peak Loads
Report Date - 13 FEBRUARY 2004
GOVERNORATE | Peak Load MW | MWH | Average Load MW
Baghdad | 1700
Duhok | 80
Naynawa | 400
Tamim | 151
Salah Aldeen | 230
Anbar | 202
Dyala | 118
Babil | 110
Kirbala | 128
Najaf | 135
Kadsya | 70
Wasit | 100
Muthana | 65
Nasirya | 130
Misan | 65
Basra | 270