## A-Steam Power Stations
Reporting Peak for 08 MARCH 2004 / Report Date - 09 MARCH 2004
A - Steam Power Stations
Power Stations | Type Fuel | No. of Units | No. of Operating Units | Units Load (MW) | [5 empty] | Total Load MW | Target Load MW | Remarks
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6
Dibis | Natural Gas | 4 | 2 | Units Load (MW) 2: 8; Units Load (MW) 4: 8 | 16 | 24
Baiji | Fuel Oil | 6 | 3 | Units Load (MW) 1: 95; Units Load (MW) 4: 95; Units Load (MW) 6: 85 | 275 | 500
Daura | Fuel Oil | 4 | 1 | Units Load (MW) 3: 65 | 65 | 180
South Baghdad | Fuel Oil | 6 | 2 | Units Load (MW) 4: 30; Units Load (MW) 5: 30 | 60 | 200
Mussaibe | Crude and Fuel Oil | 4 | 2 | Units Load (MW) 1: 210; Units Load (MW) 3: 210 | 420 | 860
Nassirya | Crude | 4 | 3 | Units Load (MW) 1: 150; Units Load (MW) 3: 150; Units Load (MW) 4: 105 | 405 | 600
Najebia | Natural Gas and Crude | 2 | 1 | Units Load (MW) 5: 90 | 90 | 160
Hartha | Natural Gas and Crude | 4 | 1 | Units Load (MW) 1: 100 | 100 | 300
| Out of Service for Unscheduled Maintanence |  |  | Units Load (MW) 6: Total: | 1431 | 2824
Out of Service for Program Maintanence/Rehab
No activity
Not Performing at Peak Performance

## B- Gas_C-Power Stations
Reporting Peak for 08 MARCH 2004 / Report Date - 09 MARCH 2004
B- Gas Power Stations | [6 empty] | C -Hydro Power Stations
Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Fuel Use | Remarks | Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Discharge m3/Sec
Gas Pressure
Baiji | 2 | 1 | 100 | 125 | Gas Oil |  | Musil Dam Main | 4 | 4 | 605 | 600
Quds | 2 | 2 | 200 | 160 | Gas Oil |  | Musil Dam reg | 4 | 3 | 27 | 60
Mosil | 12 | 9 | 139 | 150 |  |  | Musil Pumping | 2 | 1 | 110 | 0
Dibis | 3 | 2 | 56 | 30 |  |  | Haditha Dam | 6 |  |  | 160
Old Mulla | 12 | 8 | 90 | 128 |  |  | Samarra | 3 | 3 | 60 | 55
New Mulla | 6 | 4 | 130 | 173 |  |  | Himrin | 2 | 2 | 50 | 21
Taji | 7 |  |  | 55 |  |  | Hindia | 4 | 4 | 6 | 5
M. Taji | 2 | 1 | 4 | 18 |  |  | Kufa | 4 | 1 | 1 | 0
Daura | 4 |  |  | 30 |  |  |  |  | Total | 859 | 896
Hilla | 4 | 2 | 30 | 64 |  |  | System Generation |  |  | MWh
Najaf | 3 | 3 | 141 | 129 |  |  | Syrian Line Generation |  |  | MWh
Khor | 4 | 3 | 120 | 80 | Natural Gas |  | Turkey Line Generation |  |  | MWh
Shuaiba | 2 | 1 | 6 | 20 | Natural Gas |  | Total Generation |  | 84684 | MWh
M. Shuaiba | 2 |  |  |  | Natural Gas | split with the refinery | System Peak Load |  | 3654 | MW | 3737
Petro | 4 | 1 | 10 | 0 | Natural Gas |  | Syria Peak Load |  | 58 | MW | -58
M. Dibis | 4 | 3 | 9 | 24 | Natural Gas |  | Turkey Peak Load |  | 34 | MW | -34
Mossil East | 5 | 3 | 15 | 0 | Gas Oil |  | Fixed Gen Peak Load |  | 266 | MW | 3645
Hmam/Zafranya | 7 | 2 | 50 |  | Gas Oil |  | Total Peak Load |  | 4003 | MW
Diesel |  |  |  |  | Gas Oil |  | Baghdad Load |  | 1370 | MW
|  | Total | 1100 | 1186
Notes: Prepared from data submitted by D.G. Mohsin T. Hassan (1 (914) 360 6590).
Edited by Electricity Commission U.S. Advisor Staff.

## Peak Loads
Reporting Peak for 08 MARCH 2004 / Report Date - 09 MARCH 2004
GOVERNORATE | Peak Load MW | MWH | Average Load MW
Baghdad | 1370
Duhok | 84
Naynawa | 310
Tamim | 132
Salah Aldeen | 222
Anbar | 205
Dyala | 115
Babil | 105
Kirbala | 80
Najaf | 105
Kadsya | 55
Wasit | 90
Muthana | 70
Nasirya | 135
Misan | 65
Basra | 270