## A-Steam Power Stations
Reporting Peak for 13 MARCH 2004 / Report Date - 14 MARCH 2004
A - Steam Power Stations
Power Stations | Type Fuel | No. of Units | No. of Operating Units | Units Load (MW) | [5 empty] | Total Load MW | Target Load MW | Remarks
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6
Dibis | Natural Gas | 4 | 1 | 8 | [5 empty] | 8 | 24 | #2 boiler leakge; #3 prog maint; #4 fuel filters
Baiji | Fuel Oil | 6 | 3 | 85 |  |  | 85 |  | 90 | 260 | 500 | #2 & #3 prog maint; #5 forced outage
Daura | Fuel Oil | 4 | 1 |  |  | 65 |  |  |  | 65 | 180 | #4 prog maint; #5 & #6 rehab
South Baghdad | Fuel Oil | 6 | 1 |  |  |  | 30 |  |  | 30 | 200 | #1 & #2 prog maint; #3 gen earth; #4 synch at 1555; #5 a/h; #6 fwp
Mussaibe | Crude and Fuel Oil | 4 | 2 | 105 |  | 215 |  |  |  | 320 | 860 | #1 synch at 1604; #2 prog maint; #4 prog maint
Nassirya | Crude | 4 | 3 | 130 |  | 130 | 150 |  |  | 410 | 600 | #2 prog maint
Najebia | Natural Gas and Crude | 2 | 2 |  |  |  | 80 | 85 |  | 165 | 160
Hartha | Natural Gas and Crude | 4 | 2 | 60 |  |  | 90 |  |  | 150 | 300
| Out of Service for Unscheduled Maintanence | [7 empty] | Total: | 1408 | 2824
Out of Service for Program Maintanence/Rehab
No activity
Not Performing at Peak Performance

## B- Gas_C-Power Stations
Reporting Peak for 13 MARCH 2004 / Report Date - 14 MARCH 2004
B- Gas Power Stations | [6 empty] | C -Hydro Power Stations
Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Fuel Use | Remarks | Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Discharge m3/Sec
Gas Pressure
Baiji | 2 | 1 | 110 | 125 | Gas Oil | #1 heavy oil; #2 lub oil | Musil Dam Main | 4 | 4 | 616 | 600
Quds | 2 | 2 | 110 | 160 | Gas Oil | 25 trucks | Musil Dam reg | 4 | 3 | 26 | 60 | 110
Mosil | 12 | 9 | 135 | 150 | 31 | #1 & #9 rotor defect; #11 h.p. | Musil Pumping | 2 | 1 | 110 | 0
Dibis | 3 | 2 | 60 | 30 | 32 | #4 rehab | Haditha Dam | 6 | 4 | 200 | 160 | 1000
Old Mulla | 12 | 8 | 125 | 128 | 530 | #1 acc gear; #2 servo; #12 needs rehab | Samarra | 3 | 3 | 78 | 55 | 800
New Mulla | 6 | 4 | 135 | 173 | 300 | #2 prog maint; #6 generator defect | Himrin | 2 | 2 | 50 | 21 | 200
Taji | 7 |  |  | 55 |  | #3 compressor; #4 stopped at 600 control card N.G. press low; #7 needs rehab | Hindia | 4 | 4 | 5 | 5
M. Taji | 2 |  |  | 18 |  | #2 software | Kufa | 4 | 2 | 2 | 0
Daura | 4 |  |  | 30 |  | #2 prog maint; #3 needs rehab NG press low |  |  | Total | 1087 | 896
Hilla | 4 |  |  | 64 |  | working on b.b. | System Generation |  | 77448 | MWh
Najaf | 3 | 3 | 135 | 129 | 28 |  | Syrian Line Generation |  | 1318 | MWh
Khor | 4 | 3 | 120 | 80 | Natural Gas | #4 gen prot. | Turkey Line Generation |  | 2002 | MWh
Shuaiba | 2 | 1 | 5 | 20 | Natural Gas | #1 prog maint | Total Generation |  | 86195 | MWh
M. Shuaiba | 2 |  |  |  | Natural Gas |  | System Peak Load |  | 3674 | MW
Petro | 4 | 1 | 10 | 0 | Natural Gas | #2 vib | Syria Peak Load |  | 56 | MW
M. Dibis | 4 | 3 | 9 | 24 | Natural Gas |  | Turkey Peak Load |  | 80 | MW
Mossil East | 5 | 3 | 15 | 0 | Gas Oil |  | Fixed Gen Peak Load |  | 266 | MW
Hmam/Zafranya | 7 | 1 | 2 |  | Gas Oil |  | Total Peak Load |  | 4076 | MW
Diesel |  |  | 45 |  | Gas Oil |  | Baghdad Load |  | 1465 | MW
|  | Total | 1016 | 1186
Notes: Prepared from data submitted by D.G. Mohsin T. Hassan (1 (914) 360 6590).
Edited by Electricity Commission U.S. Advisor Staff.

## Peak Loads
Reporting Peak for 12 MARCH 2004 / Report Date - 13 MARCH 2004
Power transferred from North to Middle 870MW.
Power transferred from South to Middle 200 MW.
GOVERNORATE | Peak Load MW | MWH | Average Load MW
Baghdad | 1456 | 29301 | 1221
Duhok | 80 | 1921 | 80
Naynawa | 355 | 8811 | 367
Tamim | 120 | 3556 | 148
Salah Aldeen | 196 | 5007 | 209
Anbar | 200 | 4616 | 192
Dyala | 105 | 2292 | 96
Babil | 135 | 2505 | 104
Kirbala | 105 | 2059 | 86
Najaf | 95 | 2386 | 99
Kadsya | 56 | 1516 | 63
Wasit | 165 | 3110 | 130
Muthana | 50 | 1393 | 58
Nasirya | 115 | 2686 | 112
Misan | 60 | 1579 | 66
Basra | 300 | 6484 | 270