## A-Steam Power Stations
Reporting Peak for 01 APRIL 2004 / Report Date - 02 APRIL 2004
A - Steam Power Stations
Power Stations | Type Fuel | No. of Units | No. of Operating Units | Units Load (MW) | [5 empty] | Total Load MW | Target Load MW | Remarks
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6
Dibis | Natural Gas | 4 | 2 | Units Load (MW) 1: 8; Units Load (MW) 2: 8 | 16 | 24
Baiji | Fuel Oil | 6 | 2 | Units Load (MW) 4: 100; Units Load (MW) 6: 95 | 195 | 500
Daura | Fuel Oil | 4 | [7 empty] | 0 | 180
South Baghdad | Fuel Oil | 6 | 2 | Units Load (MW) 4: 30; Units Load (MW) 6: 30 | 60 | 200
Mussaibe | Crude and Fuel Oil | 4 | 3 | Units Load (MW) 1: 210; Units Load (MW) 3: 210; Units Load (MW) 4: 210 | 630 | 860
Nassirya | Crude | 4 | 3 | Units Load (MW) 2: 150; Units Load (MW) 3: 130; Units Load (MW) 4: 100 | 380 | 600
Najebia | Natural Gas and Crude | 2 | 1 | Units Load (MW) 4: 80 | 80 | 160
Hartha | Natural Gas and Crude | 4 | 1 | Units Load (MW) 4: 180 | 180 | 300
| Out of Service for Unscheduled Maintanence |  |  | Units Load (MW) 6: Total: | 1541 | 2824
Out of Service for Program Maintanence/Rehab
No activity
Not Performing at Peak Performance

## B- Gas_C-Power Stations
Reporting Peak for 01 APRIL 2004 / Report Date - 02 APRIL 2004
B- Gas Power Stations | [6 empty] | C -Hydro Power Stations
Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Fuel Use | Remarks | Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Discharge m3/Sec
Gas Pressure
Baiji | 2 | 2 | 175 | 125 | Gas Oil |  | Musil Dam Main | 4 | 4 | 580 | 600
M. Baiji | 8 | 2 | 40 |  | Gas Oil |  | Musil Dam reg | 4 | 2 | 23 | 60
Quds | 2 | 1 | 40 | 160 | Gas Oil |  | Musil Pumping | 2 |  |  | 0
Mosil | 12 | 8 | 126 | 150 |  |  | Haditha Dam | 6 |  |  | 160
Dibis | 3 | 2 | 45 | 30 |  |  | Samarra | 3 | 3 | 45 | 55
Old Mulla | 12 | 7 | 100 | 128 |  |  | Himrin | 2 | 2 | 36 | 21
New Mulla | 6 | 5 | 150 | 173 |  |  | Hindia | 4 | 4 | 5 | 5
Taji | 7 |  |  | 55 |  |  | Kufa | 4 | 2 | 1 | 0
M. Taji | 2 |  |  | 18 |  |  |  |  | Total | 690 | 896
Daura | 4 |  |  | 30 |  |  | System Generation |  |  | MWh
Hilla | 4 | 5 | 80 | 64 |  |  | Syrian Line Generation |  |  | MWh
Najaf | 3 | 2 | 80 | 129 |  |  | Turkey Line Generation |  |  | MWh
Khor | 4 | 3 | 140 | 80 | Natural Gas |  | Total Generation |  | 82214 | MWh
Shuaiba | 2 | 1 | 13 | 20 | Natural Gas |  | System Peak Load |  | 3663 | MW
M. Shuaiba | 2 |  |  |  | Natural Gas |  | Syria Peak Load |  | 60 | MW
Petro | 4 |  |  | 0 | Natural Gas |  | Turkey Peak Load |  | 82 | MW
M. Dibis | 4 | 3 | 9 | 24 | Natural Gas |  | Fixed Gen Peak Load |  | 266 | MW
Mossil East | 5 | 3 | 17 | 0 | Gas Oil |  | Total Peak Load |  | 4071 | MW
Hmam/Zafranya | 7 | 1 | 59 |  | Gas Oil |  | Baghdad Load |  | 1355 | MW
Diesel |  |  |  |  | Gas Oil
|  | Total | 1074 | 1186
Notes: Prepared from data submitted by D.G. Mohsin T. Hassan (1 (914) 360 6590).
Edited by Electricity Commission U.S. Advisor Staff.

## Peak Loads
Reporting Peak for 01 APRIL 2004 / Report Date - 02 APRIL 2004
GOVERNORATE | Peak Load MW | MWH | Average Load MW | Demand Load MW
Baghdad | 1400
Duhok | 82
Naynawa | 400
Tamim | 130
Salah Aldeen | 192
Anbar | 195
Dyala | 85
Babil | 88
Kirbala | 62
Najaf | 94
Kadsya | 50
Wasit | 70
Muthana | 45
Nasirya | 95
Misan | 60
Basra | 350