## A-Steam Power Stations
REPORT DATE -18 NOVEMBER 2003
A - Steam Power Stations
Power Stations | Type | No. of Units | No. of Operating Units | Units Load (MW) | [5 empty] | Total Load MW | Target Load | Remarks
| Fuel |  |  | 1 | 2 | 3 | 4 | 5 | 6 |  | MW
Dibis | Natural Gas | 4 | 2 | 0 | 0 | 8 | 8 |  |  | 16 | 24 | No. 2 Boiler Leakage. No. 1 stopped FWP.
Baiji | Fuel Oil | 6 | 4 | 105 | 80 | 75 | 0 | 0 | 85 | 345 | 500 | No. 5 rehab. No. 3 synch at 2151. No. 4 boiler leak.
Dura | Fuel Oil | 4 | 1 |  |  | 75 | 0 | 0 | 0 | 75 | 180 | No. 4: Programmed Maintenance10 OCT to 25 NOV. Nos. 5 & 6: Rehabilitation.
South Baghdad | Fuel Oil | 6 | 2 | 35 | 0 | 0 | 0 | 0 | 35 | 70 | 200 | No.2 stop valve. No. 3 stopped 2047 boiler leak burners. No. 6 programmed mnt 11 NOV to 26 DEC. No. 4 hydraulic.
Mussaibe | Crude and Fuel Oil | 4 | 2 | 100 | 0 | 0 | 230 |  |  | 330 | 860 | No. 2 program mnt 20 OCT to 12 NOV. No. 3 program mnt 5 NOV to 20 DEC. No. 1 synch. At 1610.
Nassirya | Crude | 4 | 2 | 120 | 165 | 0 | 0 |  |  | 285 | 600 | No. 1 synch at 0001. No. 3 programmed mnt 11 NOV to 11 DEC.
Najebia | Natural Gas and Crude | 2 | 1 |  |  |  | 0 | 80 |  | 80 | 160 | No. 4 programmed mnt 6 NOV to 21 DEC.
Hartha | Natural Gas and Crude | 4 | 1 | 120 |  |  | 0 |  |  | 120 | 300 | No. 4 Programmed Maintenance from 23 OCT to 23 DEC.
[9 empty] | Total: | 1321 | 2824

## B- Gas_C-Power Stations
Report Date- 18 NOVEMBER 2003
B- Gas Power Stations | [6 empty] | C -Hydro Power Stations
Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Fuel Use | Remarks | Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Discharge m3/Sec
Gas Pressure
Baiji | 2 | 1 | 85 | 125 | Gas Oil | No. 2 s/b. | Musil Dam Main | 4 | 2 | 200 | 600
Quds | 2 | 2 | 175 | 160 | Gas Oil | 27 trucks. | Musil Dam reg | 4 | 3 | 29 | 60 | 450
Mosil | 12 | 7 | 105 | 150 | 14 | No. 1 rotor defect. No. 2 ACC. No. 8 program mnt. | Musil Pumping | 2 | 0 | 0 | 0
Dibis | 3 | 0 | 0 | 60 | 32 | No. 5 problem turbine rotor. No. 6: Programmed Maintenance. No. 4 rotor defect. | Haditha Dam | 6 | 2 | 90 | 160 | 300
Old Mulla | 12 | 5 | 63 | 128 | 410 | No. 1 gas control. No. 2 gen protec. No. 5 Programmed Mnt. No. 12 rehab. | Samarra | 3 | 3 | 58 | 55 | 550
New Mulla | 6 | 3 | 100 | 173 | 29 | No. 6 Generator Defective. No. 3 synch at 1218. | Himrin | 2 | 2 | 32 | 21 | 130
Taji | 7 | 2 | 50 | 55 | 14 | No. 5 Diesel. No.7 Rehabilitation. | Hindia | 4 | 4 | 5 | 5 | 220
M. Taji | 2 | 0 | 0 | 20 | 0 | NGPL | Kufa | 4 | 1 | 1 | 1
Dura | 4 | 2 | 40 | 30 | 14 | No.1 Control. No.3 Rehabilitation. No. 2 NGPL. No. 4 NGPL. |  |  | Total | 415 | 896
Hilla | 4 | 4 | 65 | 64 | 23 |  | System Generation |  | 52572 | MWh
Najaf | 3 | 3 | 140 | 129 | 21 |  | Syrian Line Generation |  | 1278 | MWh
Khor | 4 | 2 | 95 | 80 | Natural Gas | No. 4: Rehabilitation. No. 2 synch at 1024. | Turkey Line Generation |  | 2279 | MWh
Shuaiba | 2 | 1 | 5 | 20 | Natural Gas | No. 1 Programmed Maintenance. | Total Generation |  | 56129 | MWh
Petro | 4 | 1 | 0 | 0 | Natural Gas |  | System Peak Load |  | 2893 | MW
M. Dibis | 4 | 0 | 0 | 24 | Natural Gas |  | Syria Peak Load |  | 60 | MW
Mossil East | 5 | 0 | 0 | 15 | Gas Oil |  | Turkey Peak Load |  | 98 | MW
Hmam | 2 | 0 | 0 |  | Gas Oil |  | Fixed Gen Peak Load |  | 77 | MW
[7 empty] | Total Peak Load |  | 3128 | MW
|  | Total | 923 | 1233 |  |  | Baghdad Load |  | 900 | MW
Notes: Prepared from data submitted by D.G. Mohsin T. Hassan (1 (914) 360 6590).
Edited by Electricity Commission U.S. Advisor Staff.

## Peak Loads
GOVERNORATE | Peak Load MW | MWH | Average Load MW | 18 NOVEMBER, 2003
Baghdad | 900 | 11765 | 490.2083 | Power transferred from North to Middle 500 MW
Duhok | 98 | 2230 | 92.9167
Naynawa | 270 | 8757 | 364.875 | Power transferred from South to Middle 40 MW
Tamim | 145 | 3861 | 160.875
Salah Aldeen | 180 | 4558 | 189.9167
Anbar | 120 | 2948 | 122.8333
Dyala | 50 | 753 | 31.375
Babil | 92 | 1560 | 65
Kirbala | 60 | 1069 | 44.5417
Najaf | 90 | 1896 | 79
Kadsya | 60 | 787 | 32.7917
Wasit | 75 | 1167 | 48.625
Muthana | 60 | 1188 | 49.5
Nasirya | 120 | 2721 | 113.375
Misan | 70 | 754 | 31.4167
Basra | 300 | 6225 | 259.375
2690