## A-Steam Power Stations
REPORT DATE -29 NOVEMBER 2003
A - Steam Power Stations
Power Stations | Type | No. of Units | No. of Operating Units | Units Load (MW) | [5 empty] | Total Load MW | Target Load | Remarks
| Fuel |  |  | 1 | 2 | 3 | 4 | 5 | 6 |  | MW
Dibis | Natural Gas | 4 | 2 | 0 | 0 | 8 | 8 |  |  | 16 | 24 | No. 2 FWP. No.1 loss of flame.
Baiji | Fuel Oil | 6 | 4 | 100 | 85 | 85 | 0 | 0 | 90 | 360 | 500 | No. 5 rehab. No. 4 stopped boiler leak.
Dura | Fuel Oil | 4 | 1 |  |  | 75 | 0 | 0 | 0 | 75 | 180 | No. 4: Programmed Maintenance 10 OCT to 25 NOV. Nos. 5 & 6: Rehabilitation.
South Baghdad | Fuel Oil | 6 | 3 | 35 | 25 | 20 | 0 | 0 | 0 | 80 | 200 | No. 6 programmed mnt 11 NOV to 26 DEC. No. 4 and 5 stopped boiler leak. No. 1 synch at 1830. No. 2 synch at 2030.
Mussaibe | Crude and Fuel Oil | 4 | 1 | 0 | 0 | 0 | 200 |  |  | 200 | 860 | No. 2 program mnt 20 OCT to 12 NOV start. No. 3 program mnt 5 NOV to 20 DEC. No. 1 tripped boiler leak.
Nassirya | Crude | 4 | 3 | 150 | 150 | 0 | 100 |  |  | 400 | 600 | No. 3 programmed mnt 11 NOV to 11 DEC.
Najebia | Natural Gas and Crude | 2 | 0 |  |  |  | 0 | 0 |  | 0 | 160 | No. 4 programmed mnt 6 NOV to 21 DEC. No. 5 tripped at 1011 DLL.
Hartha | Natural Gas and Crude | 4 | 1 | 150 |  |  | 0 |  |  | 150 | 300 | No. 4 Programmed Maintenance from 23 OCT to 23 DEC.
[9 empty] | Total: | 1281 | 2824

## B- Gas_C-Power Stations
Report Date- 29 NOVEMBER 2003
B- Gas Power Stations | [6 empty] | C -Hydro Power Stations
Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Fuel Use | Remarks | Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Discharge m3/Sec
Gas Pressure
Baiji | 2 | 1 | 115 | 125 | Gas Oil | No. 1 s/b. | Musil Dam Main | 4 | 2 | 250 | 600
Quds | 2 | 2 | 90 | 160 | Gas Oil | 44 trucks. | Musil Dam reg | 4 | 3 | 30 | 60 | 450
Mosil | 12 | 7 | 120 | 150 | 14 | No. 1 rotor defect. No. 2 ACC. No. 8 program mnt. No. 3 control cards. | Musil Pumping | 2 | 0 | 0 | 0
Dibis | 3 | 0 | 0 | 60 | 18 | No. 5 problem turbine rotor. No. 6: Programmed Maintenance. No. 4 rotor defect. | Haditha Dam | 6 | 2 | 105 | 160 | 300
Old Mulla | 12 | 7 | 85 | 128 | 310 | No. 1 gas control. No. 2 gen protec. No. 5 Programmed Mnt. No. 12 rehab. No. 6 gene. Prot. | Samarra | 3 | 3 | 53 | 55 | 550
New Mulla | 6 | 2 | 70 | 173 | 2.3 | No. 6 Generator Defective. No. 4 cooling fan. No. 3 prog. Mnt. No. 1 tripped at 1150 EF. | Himrin | 2 | 1 | 18 | 21 | 80
Taji | 7 | 5 | 80 | 55 | 13 | No. 5 Diesel. No.7 Rehabilitation. | Hindia | 4 | 4 | 5 | 5 | 60
M. Taji | 2 | 0 | 0 | 20 | 0 | NGPL | Kufa | 4 | 0 | 0 | 1
Dura | 4 | 1 | 20 | 30 | 15 | No.3 Rehabilitation. No. 1 control. No. 4 tripped at 0001 NGPL. |  |  | Total | 461 | 896
Hilla | 4 | 4 | 65 | 64 | 25 |  | System Generation |  | 64002 | MWh
Najaf | 3 | 3 | 110 | 129 | 20 |  | Syrian Line Generation |  | 0 | MWh
Khor | 4 | 2 | 110 | 80 | Natural Gas | No. 4: Rehabilitation. No. 2 tripped over speed. | Turkey Line Generation |  | 2014 | MWh
Shuaiba | 2 | 1 | 10 | 20 | Natural Gas | No. 1 programmed mnt. | Total Generation |  | 66016 | MWh
Petro | 4 | 1 | 10 | 0 | Natural Gas |  | System Peak Load |  | 3123 | MW
M. Dibis | 4 | 0 | 0 | 24 | Natural Gas |  | Syria Peak Load |  | 0 | MW
Mossil East | 5 | 0 | 0 | 15 | Gas Oil |  | Turkey Peak Load |  | 84 | MW
Hmam | 2 | 0 | 0 |  | Gas Oil |  | Fixed Gen Peak Load |  | 77 | MW
[7 empty] | Total Peak Load |  | 3284 | MW
|  | Total | 885 | 1233 |  |  | Baghdad Load |  | 1210 | MW
Notes: Prepared from data submitted by D.G. Mohsin T. Hassan (1 (914) 360 6590).
Edited by Electricity Commission U.S. Advisor Staff.

## Peak Loads
GOVERNORATE | Peak Load MW | MWH | Average Load MW | 29 NOVEMBER, 2003
Baghdad | 1200 | 22870 | 952.9167 | Power transferred from North to Middle 700 MW
Duhok | 84 | 1956 | 81.5
Naynawa | 270 | 7466 | 311.0833 | Power transferred from South to Middle 240 MW
Tamim | 130 | 3320 | 138.3333
Salah Aldeen | 180 | 4309 | 179.5417
Anbar | 170 | 3653 | 152.2083
Dyala | 60 | 1518 | 63.25
Babil | 75 | 2002 | 83.4167
Kirbala | 70 | 1726 | 71.9167
Najaf | 90 | 2219 | 92.4583
Kadsya | 42 | 1334 | 55.5833
Wasit | 56 | 1881 | 78.375
Muthana | 45 | 1178 | 49.0833
Nasirya | 120 | 2630 | 109.5833
Misan | 60 | 2393 | 99.7083
Basra | 225 | 5995 | 249.7917
2877