## A-Steam Power Stations
Reporting Peak for 31 MARCH 2004 / Report Date - 01 APRIL 2004
A - Steam Power Stations
Power Stations | Type Fuel | No. of Units | No. of Operating Units | Units Load (MW) | [5 empty] | Total Load MW | Target Load MW | Remarks
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6
Dibis | Natural Gas | 4 | 2 | 8 | 8 |  |  |  |  | 16 | 24 | #3 stopped 2052 BL; #4 prog maint
Baiji | Fuel Oil | 6 | 1 |  |  |  | 80 |  |  | 80 | 500 | #1 prog maint; #2 hydrogen leak; #3 prog maint; #5 forced outage; #6 high water consume
Daura | Fuel Oil | 4 | [7 empty] | 0 | 180 | #3 prog maint; #4 prog maint; #5 & #6 rehab
South Baghdad | Fuel Oil | 6 | 1 | [5 empty] | 30 | 30 | 200 | #1, #2, #3 prog maint; #4 boiler leakage; #5 synch at 1630, stopped at 205 DLL
Mussaibe | Crude and Fuel Oil | 4 | 2 | 185 |  | 220 |  |  |  | 405 | 860 | #2 & #4 prog maint
Nassirya | Crude | 4 | 2 | [6 empty] | 0 | 600 | #1 & #2 prog maint; shut down at 130 for 3 weeks
Najebia | Natural Gas and Crude | 2 | 2 |  |  |  | 90 | 80 |  | 170 | 160
Hartha | Natural Gas and Crude | 4 | 1 |  |  |  | 140 |  |  | 140 | 300 | #1 prog maint
| Out of Service for Unscheduled Maintanence | [7 empty] | Total: | 841 | 2824
Out of Service for Program Maintanence/Rehab
No activity
Not Performing at Peak Performance

## B- Gas_C-Power Stations
Reporting Peak for 31 MARCH 2004 / Report Date - 01 APRIL 2004
B- Gas Power Stations | [6 empty] | C -Hydro Power Stations
Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Fuel Use | Remarks | Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Discharge m3/Sec
Gas Pressure
Baiji | 2 | 1 | 100 | 125 | Gas Oil | #2 vib | Musil Dam Main | 4 | 4 | 620 | 600
M. Baiji |  | 4 | 88 |  | Gas Oil |  | Musil Dam reg | 4 | 4 | 45 | 60 | 1100
Quds | 2 | 2 | 144 | 160 | Gas Oil | 38 trucks | Musil Pumping | 2 | 1 | 110 | 0
Mosil | 12 | 8 | 122 | 150 | 20 | #1 rotor defect; #2 prog maint; #9 rotor defect; #11 synch at 1352; #12 transf | Haditha Dam | 6 | 4 | 220 | 160 | 1000
Dibis | 3 | 1 | 31 | 30 | 33 | #4 rehab; #6 stopped at 2154 vib test | Samarra | 3 | 3 | 70 | 55
Old Mulla | 12 | 6 | 83 | 128 | 560 | #1 acc gear; #5 synch at 1440; #6 HET; #8 VIB; #9 & #10 CT explosion; #12 needs rehab | Himrin | 2 | 2 | 40 | 21
New Mulla | 6 | 5 | 160 | 173 | 3.5 | #6 generator defect (sch at 15/5) | Hindia | 4 | 2 | 2 | 5
Taji | 7 | 5 | 68 | 55 | 16 | #1 synch at 1059; #3 compressor; #4 synch at 1330; #7 needs rehab | Kufa | 4 |  |  | 0
M. Taji | 2 | 1 | 5 | 18 | Gas Oil | #2 software |  |  | Total | 1107 | 896
Daura | 4 | 1 | 20 | 30 | 16 | #2 prog maint; #3 needs rehab; #4 gas valve | System Generation |  | 72953 | MWh
Hilla | 4 | 4 | 70 | 64 | 24 |  | Syrian Line Generation |  | 1297 | MWh
Najaf | 3 | 3 | 115 | 129 | 23 |  | Turkey Line Generation |  | 1945 | MWh
Khor | 4 | 3 | 100 | 80 | Natural Gas | #2 prog maint | Total Generation |  | 81622 | MWh
Shuaiba | 2 | 1 | 4 | 20 | Natural Gas |  | System Peak Load |  | 3512 | MW
M. Shuaiba | 2 |  |  |  | Natural Gas |  | Syria Peak Load |  | 60 | MW
Petro | 4 |  |  | 0 | Natural Gas |  | Turkey Peak Load |  | 82 | MW
M. Dibis | 4 | 3 | 10 | 24 | Natural Gas |  | Fixed Gen Peak Load |  | 266 | MW
Mossil East | 5 | 3 | 15 | 0 | Gas Oil |  | Total Peak Load |  | 3920 | MW
Hmam/Zafranya | 7 | 1 | 2 |  | Gas Oil |  | Baghdad Load |  | 1300 | MW
Diesel |  |  | 46 |  | Gas Oil
|  | Total | 1183 | 1186
Notes: Prepared from data submitted by D.G. Mohsin T. Hassan (1 (914) 360 6590).
Edited by Electricity Commission U.S. Advisor Staff.

## Peak Loads
Reporting Peak for 31 MARCH 2004 / Report Date - 01 APRIL 2004
Power transferred from North to Middle 900 MW.
Power transferred from South to Middle 90 MW.
GOVERNORATE | Peak Load MW | MWH | Average Load MW | Demand Load MW
Baghdad | 1300 | 25394 | 1058 | 1455
Duhok | 82 | 1927 | 80 | 108
Naynawa | 353 | 8108 | 338 | 490
Tamim | 135 | 3137 | 131 | 185
Salah Aldeen | 230 | 5045 | 210 | 256
Anbar | 200 | 4770 | 199 | 242
Dyala | 90 | 2174 | 91 | 135
Babil | 120 | 2408 | 100 | 140
Kirbala | 99 | 2051 | 85 | 110
Najaf | 112 | 2502 | 104 | 128
Kadsya | 61 | 1383 | 58 | 82
Wasit | 105 | 2109 | 88 | 125
Muthana | 67 | 1457 | 61 | 74
Nasirya | 130 | 2788 | 116 | 129
Misan | 70 | 1552 | 65 | 75
Basra | 345 | 6693 | 279 | 279