## A-Steam Power Stations
Reporting Peak for 06 APRIL 2004 / Report Date - 07 APRIL 2004
A - Steam Power Stations
Power Stations | Type Fuel | No. of Units | No. of Operating Units | Units Load (MW) | [5 empty] | Total Load MW | Target Load MW | Remarks
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6
Dibis | Natural Gas | 4 | 3 | Units Load (MW) 1: 9; Units Load (MW) 2: 8; Units Load (MW) 3: 8 | 25 | 24
Baiji | Fuel Oil | 6 | 3 | Units Load (MW) 2: 90; Units Load (MW) 4: 80; Units Load (MW) 6: 80 | 250 | 500
Daura | Fuel Oil | 4 | [7 empty] | 0 | 180
South Baghdad | Fuel Oil | 6 | 1 | Units Load (MW) 4: 30 | 30 | 200
Mussaibe | Crude and Fuel Oil | 4 | 2 | Units Load (MW) 1: 205; Units Load (MW) 3: 205 | 410 | 860
Nassirya | Crude | 4 | [7 empty] | 0 | 600
Najebia | Natural Gas and Crude | 2 | 2 | Units Load (MW) 4: 60; Units Load (MW) 5: 65 | 125 | 160
Hartha | Natural Gas and Crude | 4 | 1 | Units Load (MW) 4: 170 | 170 | 300
| Out of Service for Unscheduled Maintanence |  |  | Units Load (MW) 6: Total: | 1010 | 2824
Out of Service for Program Maintanence/Rehab
No activity
Not Performing at Peak Performance

## B- Gas_C-Power Stations
Reporting Peak for 06 APRIL 2004 / Report Date - 07 APRIL 2004
B- Gas Power Stations | [6 empty] | C -Hydro Power Stations
Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Fuel Use | Remarks | Power Stations | No. of Units | No. of Operating Units | Station Load | Target Load | Discharge m3/Sec
Gas Pressure
Baiji | 2 | 2 | 187 | 125 | Gas Oil |  | Musil Dam Main | 4 | 4 | 620 | 600
M. Baiji | 8 | 3 | 72 |  | Gas Oil |  | Musil Dam reg | 4 | 4 | 42 | 60
Quds | 2 | 2 | 211 | 160 | Gas Oil |  | Musil Pumping | 2 | 1 | 105 | 0
Mosil | 12 | 8 | 115 | 150 |  |  | Haditha Dam | 6 |  |  | 160
Dibis | 3 | 2 | 40 | 30 |  |  | Samarra | 3 | 3 | 62 | 55
Old Mulla | 12 | 7 | 103 | 128 |  |  | Himrin | 2 | 2 | 36 | 21
New Mulla | 6 | 5 | 160 | 173 |  |  | Hindia | 4 | 4 | 4 | 5
Taji | 7 | 3 | 40 | 55 |  |  | Kufa | 4 | 2 | 1 | 0
M. Taji | 2 |  |  | 18 |  |  |  |  | Total | 870 | 896
Daura | 4 |  |  | 30 |  |  | System Generation |  |  | MWh
Hilla | 4 | 5 | 82 | 64 |  |  | Syrian Line Generation |  | 1281 | MWh
Najaf | 3 | 3 | 125 | 129 |  |  | Turkey Line Generation |  | 1957 | MWh
Khor | 4 | 2 | 95 | 80 | Natural Gas |  | Total Generation |  | 83559 | MWh
Shuaiba | 2 | 1 | 4 | 20 | Natural Gas |  | System Peak Load |  | 3422 | MW
M. Shuaiba | 2 |  |  |  | Natural Gas |  | Syria Peak Load |  | 60 | MW
Petro | 4 | 1 | 10 | 0 | Natural Gas |  | Turkey Peak Load |  | 82 | MW
M. Dibis | 4 | 2 | 6 | 24 | Natural Gas |  | Fixed Gen Peak Load |  | 266 | MW
Mossil East | 5 | 4 | 21 | 0 | Gas Oil |  | Total Peak Load |  | 3830 | MW
Hmam/Zafranya | 7 | 1 | 56 |  | Gas Oil |  | Baghdad Load |  | 1250 | MW
Diesel |  |  |  |  | Gas Oil
|  | Total | 1327 | 1186
Notes: Prepared from data submitted by D.G. Mohsin T. Hassan (1 (914) 360 6590).
Edited by Electricity Commission U.S. Advisor Staff.

## Peak Loads
Reporting Peak for 06 APRIL 2004 / Report Date - 07 APRIL 2004
GOVERNORATE | Peak Load MW | MWH | Average Load MW | Demand Load MW
Baghdad | 1250
Duhok | 82
Naynawa | 325
Tamim | 125
Salah Aldeen | 190
Anbar | 210
Dyala | 70
Babil | 130
Kirbala | 125
Najaf | 145
Kadsya | 65
Wasit | 88
Muthana | 60
Nasirya | 100
Misan | 65
Basra | 320